## Sheet1
Weather Data Abbreviations Key
Main
TIMESTAMP | mm/dd/yyyy 0:00 (military time)
BattV_Avg | system power supply average voltage
PTemp_C_Avg | average temperature encountered by datalogger in degrees celsius
SoilT_5cm_C_Avg | average soil temperature at a 5cm depth in degrees celsius
LeafTemp_C_Avg | average leaf temperature in degrees celsius
AirT_C_Avg | average air temperature in degrees celsius
RH_Avg | average relative humidity
WS_ms_S_WVT | average wind speed (value used in unit vector calculation) in meters/second
WindDir_D1_WVT | average wind direction (unit vector method) in degrees
SlrW_m2_Avg | average solar radiation in Watts/m^2
SoilT_20cm_C_Avg | average soil temperature at a 20cm depth in degrees celsius
FuelT_C_Avg | average fuel temperature in degrees celsius
PA_nSec_Avg
VWC_Avg | average volumetric water content in m^3/m^3
FuelM_Avg | average fuel moisture, % moisture by weight
Rain_in_Tot | amount of precipitation in inches, new measurement in each time interval
Tot24_Rain_in | amount of daily precipitation in inches, accumulates for 24 hour period
WS_ms_Max | maximum wind speed in meters/second
WS_ms_TMx | time of maximum wind speed, mm/dd/yyyy 0:00 (military time)
WS_ms_Min | minimum wind speed in meters/second
WS_ms_TMn | time of minimum wind speed, mm/dd/yyyy 0:00 (military time)
SlrW_m2_Max | maximum soloar radiation in Watts/m^2
SlrW_m2_TMx | time of maximum solar radiation, mm/dd/yyyy 0:00 (military time)
SlrW_m2_Min | minimum soloar radiation in Watts/m^2
SlrW_m2_TMn | time of minimum solar radiation, mm/dd/yyyy 0:00 (military time)
Soil
TIMESTAMP | mm/dd/yyyy 0:00 (military time)
VWC | volumetric water content in m^3/m^3
EC | electrical conductivity in deciSiemens/meter
SoilH2OT_20cm_C | soil temperature at 20 cm in Centigrade measured by the soil moisture probe (reflectometer)
Fuel Moisture
TIMESTAMP | mm/dd/yyyy 0:00 (military time)
FuelM | fuel moisture, % moisture by weight
TempPrecip
TIMESTAMP | mm/dd/yyyy 0:00 (military time)
BattV_Max | system power supply maximum voltage
BattV_Min | system power supply minimum voltage
PTemp_C_Max | maximum temperature encountered by datalogger in degrees celsius
PTemp_C_Min | minimum temperature encountered by datalogger in degrees celsius
Rain_in_Tot | amount of precipitation in inches, new measurement in each time interval
Rain
TIMESTAMP | mm/dd/yyyy 0:00 (military time)
Rain_in_Tot | amount of precipitation in inches, new measurement in each time interval
Tot24_Rain_in | amount of daily precipitation in inches, accumulates for 24 hour period
ET | Evapotranspiration